## Summary
EXECUTIVE SUMMARY
ESTIMATED COST
PROCUREMENT / SUPPLIMENTRY SERVICES OF GENERATOR PARTS / GOODS
S.N | DESCRIPTIONS | TOTAL AMOUNT (PKR) | [5 empty] | REMARKS
|  | Annual Maintenance Charges | 20 KVA | 30 KVA | 20-40 KVA | 100 KVA | 200 KVA
1 | Perkins |  |  |  | 0 | 0 | 0
2 | Cummins |  |  |  | 0 | 0 | 0
3 | Detroit |  |  |  | 0
4 | Consumables |  | 0 | 0 |  | 0 | 0
GRAND TOTAL (PKR): |  | 0 | 0 | 0 | 0 | 0 | 0

## AMC
ANNUAL MAINTENANCE CONTRACT CHARGES
PROCUREMENT / SUPPLIMENTRY SERVICES OF GENERATOR PARTS / GOODS
GENERAL TERMS & CONDITIONS
Under this contract, the terms and conditions and general scope of works are as under.
1 | One visit is mandatory per month of each branch. ( The branches detail are available at web page www.bok.com.pk).
2 | Emergencies complainst visit charges (if any).
3 | Call basis visit charges.
Note: | The rate should be inclusive of all applicable taxes. The below rates will be final for two years and no revisions are allowed during the intact of contract period.
S.N | Descriptions | Unit | Quantity | Rate | Amount (Rs)
1 | Per visit per month of each branch | No | 1 |  | 0
2 | Emergencies visits on complaints | No | 1 |  | 0
3 | Call basis charges | No | 1 |  | 0
| Grand Total (PKR): |  |  |  | 0

## Perkins
BILL OF QUANTITIES
PROCUREMENT / SUPPLIMENTRY SERVICES OF GENERATOR PARTS / GOODS
S. No. | Brand (Perkins) | Parts Description | Unit | Qty | 20-40 KVA | 100 KVA | 200 KVA
A | General parts / Jobs
1 | Perkins | Fuel Pump Calibration | Job | 1
2 | Perkins | Nozzels Testing | Job | 1
3 | Perkins | Fuel Pump Plunger or Router chroming with nozzle testing | Job | 1
4 | Perkins | Injectors | No. | 1
5 | Perkins | Nozzles | No. | 1
6 | Perkins | Fuel Pump Router | No. | 1
7 | Perkins | Fuel Pump Planger | No. | 1
8 | Perkins | Fuel Pump Pipes | No. | 1
9 | Perkins | Electrical Fuel Pump | No. | 1
10 | Perkins | Manual Fuel Pump | No. | 1
11 | Perkins | oil Pump | No. | 1
12 | Perkins | Lifty Pump | No. | 1
13 | Perkins | Hand Lifty Pump | No. | 1
14 | Perkins | Fuel Filter Assembly | No. | 1
15 | Perkins | Timing Plat | No. | 1
16 | Perkins | Timing Plate Jain | No. | 1
17 | Perkins | Water Pump | No. | 1
18 | Perkins | Water Pump Kit | No. | 1
19 | Perkins | Water Pump Jacket | No. | 1
20 | Perkins | Water Body /Pump Repairing | No. | 1
21 | Perkins | Water Temp Sensor | No. | 1
22 | Perkins | Oil Sensor | No. | 1
23 | Perkins | Self Starter Motor | No. | 1
24 | Perkins | Fuel Solenoid | No. | 1
25 | Perkins | Self Starter Repairing | Job | 1
26 | Perkins | Charging Dynamo | Job | 1
27 | Perkins | Charging Dynamo Repairing | Job | 1
28 | Perkins | Tappet Cover | No. | 1
29 | Perkins | Fry Wheel Gear | No. | 1
30 | Perkins | Turbo Charger Repair Kit | No. | 1
31 | Perkins | Timing Oil Seal | No. | 1
32 | Perkins | Alternator Rooter Exciter | No. | 1
33 | Perkins | Alternator Bearing | No. | 1
34 | Perkins | Alternator Main Stator | No. | 1
35 | Perkins | Alternator Rooter Rewinding | Job | 1
36 | Perkins | Alternator Stator Excitor Rewinding | Job | 1
37 | Perkins | Diode Assembly Kit | No. | 1
38 | Perkins | Coupling Plate | No. | 1
39 | Perkins | Coupling Rubber | No. | 1
40 | Perkins | Module Deep Sea 307 | No. | 1
41 | Perkins | Module Datacom 5110 | No. | 1
42 | Perkins | Battery Exide, Osaka. | No. | 1
43 | Perkins | Battery Lead | No. | 1
44 | Perkins | Battery Water | No. | 1
45 | Perkins | Battery Charging | No. | 1
46 | Perkins | Battery Terminal | No. | 1
47 | Perkins | Battery Charger External | No. | 1
48 | Perkins | silencer | No. | 1
49 | Perkins | silencer Flixable Pipe | No. | 1
50 | Perkins | Silencer Pipe Heat Patti | No. | 1
51 | Perkins | Heat Patti Clamp | No. | 1
52 | Perkins | Radiator New | No. | 1
53 | Perkins | Radiartor Core | No. | 1
54 | Perkins | Radiator Descaling | No. | 1
55 | Perkins | Hose Pipe | No. | 1
56 | Perkins | Hose Pipe Clamps | No. | 1
57 | Perkins | Radiator Fan | No. | 1
58 | Perkins | Radiator Safity Guard | No. | 1
59 | Perkins | Fan Belt Pulley | No. | 1
60 | Perkins | Fan Belt | No. | 1
61 | Perkins | Coolant | No. | 1
62 | Perkins | Radiator Cap | No. | 1
63 | Perkins | Radiator Foundation Pad | No. | 1
64 | Perkins | Canopy Foundation Pad | No. | 1
65 | Perkins | Fuel Tank Cap | No. | 1
66 | Perkins | Fuel Monitoring Gage | No. | 1
67 | Perkins | Oil Deep Stick | No. | 1
68 | Perkins | Canopy Minor Repairing | Job | 1
69 | Perkins | Canopy Major Repairing | Job | 1
70 | Perkins | Canopy Door Lock | No. | 1
71 | Perkins | Foundation Pad | No. | 1
72 | Perkins | Generator & ATS installation/Comissioning with cabling | No. | 1
73 | Perkins | Rental Generators 8.5 KVA with transportation | No. | 1
74 | Perkins | Rental Generators 20 KVA with transportation | No. | 1
75 | Perkins | Main Head Rf | No. | 1
76 | Perkins | Main Block RF | No. | 1
77 | Perkins | Crank Shaft RF | No. | 1
78 | Perkins | Connecting Rod | No. | 1
79 | Perkins | Main Head New | No. | 1
80 | Perkins | Main Block New | No. | 1
81 | Perkins | Crank Shaft New | No. | 1
82 | Perkins | Connecting Rod New | No. | 1
83 | Perkins | Oil Pump | No. | 1
84 | Perkins | Fuel Pump | No. | 1
85 | Perkins | Lube Oil Delo Golde | No. | 1
86 | Perkins | Oil filter | No. | 1
87 | Perkins | Fuel filter | No. | 1
88 | Perkins | Air Filter | No. | 1
89 | Perkins | Non return valve | No. | 1
90 | Perkins | UVT Relay Zahra/Schneider | No. | 1
91 | Perkins | Relay 12V Finder | No. | 1
92 | Perkins | Relay220V Finder | No. | 1
93 | Perkins | Timer 12V | No. | 1
94 | Perkins | Timer 220V Finder | No. | 1
95 | Perkins | base | No. | 1
96 | Perkins | External Battery Charger 12 v-5A/10A | No. | 1
97 | Perkins | Connector | No. | 1
98 | Perkins | Control Wire 2.5mm in meters | meter | 1
99 | Perkins | thimbles | dozen | 1
100 | Perkins | tie 6" | pack | 1
101 | Perkins | channel patti | meter | 1
102 | Perkins | duct | Job | 1
103 | Perkins | hour meter | No. | 1
104 | Perkins | AVR 220 / 25amp | No. | 1
105 | Perkins | Panel Box 2'x2.5' | No. | 1
106 | Perkins | Panel Box 2'x3' | No. | 1
Sub-Total A (PKR): |  |  |  |  | 0 | 0 | 0
B | Circuit Breakers Tele Machenic/ABB
107 | CB | Circuit Breaker 01 pole | No. | 1
108 | CB | Circuit Breaker 10A Single pole | No. | 1
109 | CB | Circuit Breaker 20A Single pole | No. | 1
110 | CB | Circuit Breaker 10A Four pole | No. | 1
111 | CB | Circuit Breaker 20A Four pole | No. | 1
112 | CB | Circuit Breaker 30A Four pole | No. | 1
113 | CB | Circuit Breaker 40A Four pole | No. | 1
114 | CB | Circuit Breaker 50A Four pole | No. | 1
115 | CB | Circuit Breaker 100A Four pole | No. | 1
116 | CB | Circuit Breaker 150A Four pole | No. | 1
117 | CB | Circuit Breaker 200A Four pole | No. | 1
118 | CB | Circuit Breaker 250A Four pole | No. | 1
119 | CB | Circuit Breaker 300A Four pole | No. | 1
120 | CB | Circuit Breaker 400A Four pole | No. | 1
121 | CB | Circuit Breaker 10A 03 pole | No. | 1
122 | CB | Circuit Breaker 20A 03 pole | No. | 1
123 | CB | Circuit Breaker 30A 03 pole | No. | 1
124 | CB | Circuit Breaker 40A 03 pole | No. | 1
125 | CB | Circuit Breaker 50A 03 pole | No. | 1
126 | CB | Circuit Breaker 100A 03 pole | No. | 1
127 | CB | Circuit Breaker 150A 03 pole | No. | 1
128 | CB | Circuit Breaker 200A 03 pole | No. | 1
129 | CB | Circuit Breaker 250A 03 pole | No. | 1
130 | CB | Circuit Breaker 300A 03 pole | No. | 1
131 | CB | Circuit Breaker 400A 03 pole | No. | 1
Sub-Total B (PKR): |  |  |  |  | 0 | 0 | 0
C | Magnetic Contactor LS/Schneider/Fuji/Telemachnic
132 | As mentioned | Magnetic Contactor 25 A 02 pole | No. | 1
133 | As mentioned | Magnetic Contactor 60 A 02 pole | No. | 1
134 | As mentioned | Magnetic Contactor 80 A 02 pole | No. | 1
135 | As mentioned | Magnetic Contactor 100 A 02 pole | No. | 1
136 | As mentioned | Magnetic Contactor 150 A 02 pole | No. | 1
137 | As mentioned | Magnetic Contactor 180 A 02 pole | No. | 1
138 | As mentioned | Magnetic Contactor 200 A 02 pole | No. | 1
139 | As mentioned | Magnetic Contactor 250 A 02 pole | No. | 1
140 | As mentioned | Magnetic Contactor 25 A 03 pole | No. | 1
141 | As mentioned | Magnetic Contactor 60 A 03 pole | No. | 1
142 | As mentioned | Magnetic Contactor 80 A 03 pole | No. | 1
143 | As mentioned | Magnetic Contactor 100 A 03 pole | No. | 1
144 | As mentioned | Magnetic Contactor 150 A 03 pole | No. | 1
145 | As mentioned | Magnetic Contactor 180 A 03 pole | No. | 1
146 | As mentioned | Magnetic Contactor 200 A 03 pole | No. | 1
147 | As mentioned | Magnetic Contactor 250 A 03 pole | No. | 1
148 | As mentioned | Magnetic Contactor 300 A 03 pole | No. | 1
149 | As mentioned | Magnetic Contactor 400 A 03 pole | No. | 1
150 | As mentioned | Magnetic Contactor 500 A 03 pole | No. | 1
151 | As mentioned | Magnetic Contactor 25 A 04 pole | No. | 1
152 | As mentioned | Magnetic Contactor 60 A 04 pole | No. | 1
153 | As mentioned | Magnetic Contactor 80 A 04 pole | No. | 1
154 | As mentioned | Magnetic Contactor 100 A 04 pole | No. | 1
155 | As mentioned | Magnetic Contactor 150 A 04 pole | No. | 1
156 | As mentioned | Magnetic Contactor 180 A 04 pole | No. | 1
157 | As mentioned | Magnetic Contactor 200 A 04 pole | No. | 1
158 | As mentioned | Magnetic Contactor 250 A 04 pole | No. | 1
159 | As mentioned | Magnetic Contactor 300 A 04 pole | No. | 1
160 | As mentioned | Magnetic Contactor 400 A 04 pole | No. | 1
161 | As mentioned | Magnetic Contactor 500 A 04 pole | No. | 1
Sub-Total C (PKR): |  |  |  |  | 0 | 0 | 0
D | Power Cables
162 | Pakistan Cable | Power Cable 16mm 04 core Pakistan Cable | meter | 1
163 | Pakistan Cable | Power Cable 25mm 04 core Pakistan Cable | meter | 1
164 | Pakistan Cable | Power Cable 35mm 04 core Pakistan Cable | meter | 1
165 | Pakistan Cable | Power Cable 50mm 04 core Pakistan Cable | meter | 1
166 | Pakistan Cable | Power Cable 60mm 04 core Pakistan Cable | meter | 1
167 | Pakistan Cable | Power Cable 75mm 04 core Pakistan Cable | meter | 1
168 | Pakistan Cable | Power Cable 100mm 04 core Pakistan Cable | meter | 1
D1 | Control Cable
169 | Control cable 2.5mm 04 core |  | meter | 1
170 | Control cable 2.5mm 08 core |  | meter | 1
171 | Control cable 2.5mm 12 core |  | meter | 1
Sub-Total D (PKR): |  |  |  |  | 0 | 0 | 0
E | Rental Genertors
172 | Elemax | 8.5 KVA Generator (patrol) | per day | per day
173 | Perkins | 20 - 30 KVA DG Set | per day | per day
Sub-Total E (PKR): |  |  |  |  | 0 | 0 | 0
F | Overhauling Detail:
174 | Perkins | Valve Inlet | No. | 1
175 | Perkins | Valve Exhaust | No. | 1
176 | Perkins | Insert Inlet | No. | 1
177 | Perkins | Insert Exhaust | No. | 1
178 | Perkins | Guide Inlet | No. | 1
179 | Perkins | Guide Exhaust | No. | 1
180 | Perkins | Top Kit Complete | No. | 1
181 | Perkins | Bottom Kit Complete 01 No. | No. | 1
182 | Perkins | Piston | No. | 1
183 | Perkins | Ring | No. | 1
184 | Perkins | Main Bearing | No. | 1
185 | Perkins | Cylinder Liner | No. | 1
186 | Perkins | Begent Bearing | No. | 1
187 | Perkins | Rear Oil Seal | No. | 1
188 | Perkins | Front Oil Seal | No. | 1
189 | Perkins | Machining Job | Job | 1
190 | Perkins | Loading / unloading and refixing charges | Job | 1
191 | Perkins | Labor Charges | Job | 1
192 | Perkins | oil Pump | No. | 1
193 | Perkins | Lifty Pump | No. | 1
194 | Perkins | Head Gas Kit | No. | 1
195 | Perkins | CR Bush | No. | 1
196 | Perkins | Thirst Washer | No. | 1
Sub-Total F (PKR): |  |  |  |  | 0 | 0 | 0
Grand Total (PKR): |  |  |  |  | 0 | 0 | 0

## Detroit
BILL OF QUANTITIES
PROCUREMENT / SUPPLIMENTRY SERVICES OF GENERATOR PARTS / GOODS
S. No. | Brand (Perkins) | Parts Description | Unit | Qty | 20-40 KVA
A | General parts / Jobs
1 | Detroit | Fuel Pump Calibration | Job | 1
2 | Detroit | Nozzels Testing | Job | 1
3 | Detroit | Fuel Pump Plunger or Router chroming with nozzle testing | Job | 1
4 | Detroit | Injectors | No. | 1
5 | Detroit | Nozzles | No. | 1
6 | Detroit | Fuel Pump Router | No. | 1
7 | Detroit | Fuel Pump Planger | No. | 1
8 | Detroit | Fuel Pump Pipes | No. | 1
9 | Detroit | Electrical Fuel Pump | No. | 1
10 | Detroit | Manual Fuel Pump | No. | 1
11 | Detroit | oil Pump | No. | 1
12 | Detroit | Lifty Pump | No. | 1
13 | Detroit | Hand Lifty Pump | No. | 1
14 | Detroit | Fuel Filter Assembly | No. | 1
15 | Detroit | Timing Plat | No. | 1
16 | Detroit | Timing Plate Jain | No. | 1
17 | Detroit | Water Pump | No. | 1
18 | Detroit | Water Pump Kit | No. | 1
19 | Detroit | Water Pump Jacket | No. | 1
20 | Detroit | Water Body /Pump Repairing | No. | 1
21 | Detroit | Water Temp Sensor | No. | 1
22 | Detroit | Oil Sensor | No. | 1
23 | Detroit | Self Starter Motor | No. | 1
24 | Detroit | Fuel Solenoid | No. | 1
25 | Detroit | Self Starter Repairing | Job | 1
26 | Detroit | Charging Dynamo | Job | 1
27 | Detroit | Charging Dynamo Repairing | Job | 1
28 | Detroit | Tappet Cover | No. | 1
29 | Detroit | Fry Wheel Gear | No. | 1
30 | Detroit | Turbo Charger Repair Kit | No. | 1
31 | Detroit | Timing Oil Seal | No. | 1
32 | Detroit | Alternator Rooter Exciter | No. | 1
33 | Detroit | Alternator Bearing | No. | 1
34 | Detroit | Alternator Main Stator | No. | 1
35 | Detroit | Alternator Rooter Rewinding | Job | 1
36 | Detroit | Alternator Stator Excitor Rewinding | Job | 1
37 | Detroit | Diode Assembly Kit | No. | 1
38 | Detroit | Coupling Plate | No. | 1
39 | Detroit | Coupling Rubber | No. | 1
40 | Detroit | Module Deep Sea 307 | No. | 1
41 | Detroit | Module Datacom 5110 | No. | 1
42 | Detroit | Battery Exide, Osaka. | No. | 1
43 | Detroit | Battery Lead | No. | 1
44 | Detroit | Battery Water | No. | 1
45 | Detroit | Battery Charging | No. | 1
46 | Detroit | Battery Terminal | No. | 1
47 | Detroit | Battery Charger External | No. | 1
48 | Detroit | silencer | No. | 1
49 | Detroit | silencer Flixable Pipe | No. | 1
50 | Detroit | Silencer Pipe Heat Patti | No. | 1
51 | Detroit | Heat Patti Clamp | No. | 1
52 | Detroit | Radiator New | No. | 1
53 | Detroit | Radiartor Core | No. | 1
54 | Detroit | Radiator Descaling | No. | 1
55 | Detroit | Hose Pipe | No. | 1
56 | Detroit | Hose Pipe Clamps | No. | 1
57 | Detroit | Radiator Fan | No. | 1
58 | Detroit | Radiator Safity Guard | No. | 1
59 | Detroit | Fan Belt Pulley | No. | 1
60 | Detroit | Fan Belt | No. | 1
61 | Detroit | Coolant | No. | 1
62 | Detroit | Radiator Cap | No. | 1
63 | Detroit | Radiator Foundation Pad | No. | 1
64 | Detroit | Canopy Foundation Pad | No. | 1
65 | Detroit | Fuel Tank Cap | No. | 1
66 | Detroit | Fuel Monitoring Gage | No. | 1
67 | Detroit | Oil Deep Stick | No. | 1
68 | Detroit | Canopy Minor Repairing | Job | 1
69 | Detroit | Canopy Major Repairing | Job | 1
70 | Detroit | Canopy Door Lock | No. | 1
71 | Detroit | Foundation Pad | No. | 1
72 | Detroit | Generator & ATS installation/Comissioning with cabling | No. | 1
73 | Detroit | Rental Generators 8.5 KVA with transportation | No. | 1
74 | Detroit | Rental Generators 20 KVA with transportation | No. | 1
75 | Detroit | Main Head Rf | No. | 1
76 | Detroit | Main Block RF | No. | 1
77 | Detroit | Crank Shaft RF | No. | 1
78 | Detroit | Connecting Rod | No. | 1
79 | Detroit | Main Head New | No. | 1
80 | Detroit | Main Block New | No. | 1
81 | Detroit | Crank Shaft New | No. | 1
82 | Detroit | Connecting Rod New | No. | 1
83 | Detroit | Oil Pump | No. | 1
84 | Detroit | Fuel Pump | No. | 1
85 | Detroit | Lube Oil Delo Golde | No. | 1
86 | Detroit | Oil filter | No. | 1
87 | Detroit | Fuel filter | No. | 1
88 | Detroit | Air Filter | No. | 1
89 | Detroit | Non return valve | No. | 1
90 | Detroit | UVT Relay Zahra/Schneider | No. | 1
91 | Detroit | Relay 12V Finder | No. | 1
92 | Detroit | Relay220V Finder | No. | 1
93 | Detroit | Timer 12V | No. | 1
94 | Detroit | Timer 220V Finder | No. | 1
95 | Detroit | base | No. | 1
96 | Detroit | External Battery Charger 12 v-5A/10A | No. | 1
97 | Detroit | Connector | No. | 1
98 | Detroit | Control Wire 2.5mm in meters | meter | 1
99 | Detroit | thimbles | dozen | 1
100 | Detroit | tie 6" | pack | 1
101 | Detroit | channel patti | meter | 1
102 | Detroit | duct | Job | 1
103 | Detroit | hour meter | No. | 1
104 | Detroit | AVR 220 / 25amp | No. | 1
105 | Detroit | Panel Box 2'x2.5' | No. | 1
106 | Detroit | Panel Box 2'x3' | No. | 1
Sub-Total A (PKR): |  |  |  |  | 0
B | Circuit Breakers Tele Machenic/ABB
107 | CB | Circuit Breaker 01 pole | No. | 1
108 | CB | Circuit Breaker 10A Single pole | No. | 1
109 | CB | Circuit Breaker 20A Single pole | No. | 1
110 | CB | Circuit Breaker 10A Four pole | No. | 1
111 | CB | Circuit Breaker 20A Four pole | No. | 1
112 | CB | Circuit Breaker 30A Four pole | No. | 1
113 | CB | Circuit Breaker 40A Four pole | No. | 1
114 | CB | Circuit Breaker 50A Four pole | No. | 1
115 | CB | Circuit Breaker 100A Four pole | No. | 1
116 | CB | Circuit Breaker 150A Four pole | No. | 1
117 | CB | Circuit Breaker 200A Four pole | No. | 1
118 | CB | Circuit Breaker 250A Four pole | No. | 1
119 | CB | Circuit Breaker 300A Four pole | No. | 1
120 | CB | Circuit Breaker 400A Four pole | No. | 1
121 | CB | Circuit Breaker 10A 03 pole | No. | 1
122 | CB | Circuit Breaker 20A 03 pole | No. | 1
123 | CB | Circuit Breaker 30A 03 pole | No. | 1
124 | CB | Circuit Breaker 40A 03 pole | No. | 1
125 | CB | Circuit Breaker 50A 03 pole | No. | 1
126 | CB | Circuit Breaker 100A 03 pole | No. | 1
127 | CB | Circuit Breaker 150A 03 pole | No. | 1
128 | CB | Circuit Breaker 200A 03 pole | No. | 1
129 | CB | Circuit Breaker 250A 03 pole | No. | 1
130 | CB | Circuit Breaker 300A 03 pole | No. | 1
131 | CB | Circuit Breaker 400A 03 pole | No. | 1
Sub-Total B (PKR): |  |  |  |  | 0
C | Magnetic Contactor LS/Schneider/Fuji/Telemachnic
132 | As mentioned | Magnetic Contactor 25 A 02 pole | No. | 1
133 | As mentioned | Magnetic Contactor 60 A 02 pole | No. | 1
134 | As mentioned | Magnetic Contactor 80 A 02 pole | No. | 1
135 | As mentioned | Magnetic Contactor 100 A 02 pole | No. | 1
136 | As mentioned | Magnetic Contactor 150 A 02 pole | No. | 1
137 | As mentioned | Magnetic Contactor 180 A 02 pole | No. | 1
138 | As mentioned | Magnetic Contactor 200 A 02 pole | No. | 1
139 | As mentioned | Magnetic Contactor 250 A 02 pole | No. | 1
140 | As mentioned | Magnetic Contactor 25 A 03 pole | No. | 1
141 | As mentioned | Magnetic Contactor 60 A 03 pole | No. | 1
142 | As mentioned | Magnetic Contactor 80 A 03 pole | No. | 1
143 | As mentioned | Magnetic Contactor 100 A 03 pole | No. | 1
144 | As mentioned | Magnetic Contactor 150 A 03 pole | No. | 1
145 | As mentioned | Magnetic Contactor 180 A 03 pole | No. | 1
146 | As mentioned | Magnetic Contactor 200 A 03 pole | No. | 1
147 | As mentioned | Magnetic Contactor 250 A 03 pole | No. | 1
148 | As mentioned | Magnetic Contactor 300 A 03 pole | No. | 1
149 | As mentioned | Magnetic Contactor 400 A 03 pole | No. | 1
150 | As mentioned | Magnetic Contactor 500 A 03 pole | No. | 1
151 | As mentioned | Magnetic Contactor 25 A 04 pole | No. | 1
152 | As mentioned | Magnetic Contactor 60 A 04 pole | No. | 1
153 | As mentioned | Magnetic Contactor 80 A 04 pole | No. | 1
154 | As mentioned | Magnetic Contactor 100 A 04 pole | No. | 1
155 | As mentioned | Magnetic Contactor 150 A 04 pole | No. | 1
156 | As mentioned | Magnetic Contactor 180 A 04 pole | No. | 1
157 | As mentioned | Magnetic Contactor 200 A 04 pole | No. | 1
158 | As mentioned | Magnetic Contactor 250 A 04 pole | No. | 1
159 | As mentioned | Magnetic Contactor 300 A 04 pole | No. | 1
160 | As mentioned | Magnetic Contactor 400 A 04 pole | No. | 1
161 | As mentioned | Magnetic Contactor 500 A 04 pole | No. | 1
Sub-Total C (PKR): |  |  |  |  | 0
D | Power Cables
162 | Pakistan Cable | Power Cable 16mm 04 core Pakistan Cable | meter | 1
163 | Pakistan Cable | Power Cable 25mm 04 core Pakistan Cable | meter | 1
164 | Pakistan Cable | Power Cable 35mm 04 core Pakistan Cable | meter | 1
165 | Pakistan Cable | Power Cable 50mm 04 core Pakistan Cable | meter | 1
166 | Pakistan Cable | Power Cable 60mm 04 core Pakistan Cable | meter | 1
167 | Pakistan Cable | Power Cable 75mm 04 core Pakistan Cable | meter | 1
168 | Pakistan Cable | Power Cable 100mm 04 core Pakistan Cable | meter | 1
D1 | Control Cable
169 | Control cable 2.5mm 04 core |  | meter | 1
170 | Control cable 2.5mm 08 core |  | meter | 1
171 | Control cable 2.5mm 12 core |  | meter | 1
Sub-Total D (PKR): |  |  |  |  | 0
E | Rental Genertors
172 | Elemax | 8.5 KVA Generator (patrol) | per day | per day
173 | Detroit | 20 - 30 KVA DG Set | per day | per day
Sub-Total E (PKR): |  |  |  |  | 0
F | Overhauling Detail:
174 | Detroit | Valve Inlet | No. | 1
175 | Detroit | Valve Exhaust | No. | 1
176 | Detroit | Insert Inlet | No. | 1
177 | Detroit | Insert Exhaust | No. | 1
178 | Detroit | Guide Inlet | No. | 1
179 | Detroit | Guide Exhaust | No. | 1
180 | Detroit | Top Kit Complete | No. | 1
181 | Detroit | Bottom Kit Complete 01 No. | No. | 1
182 | Detroit | Piston | No. | 1
183 | Detroit | Ring | No. | 1
184 | Detroit | Main Bearing | No. | 1
185 | Detroit | Cylinder Liner | No. | 1
186 | Detroit | Begent Bearing | No. | 1
187 | Detroit | Rear Oil Seal | No. | 1
188 | Detroit | Front Oil Seal | No. | 1
189 | Detroit | Machining Job | Job | 1
190 | Detroit | Loading / unloading and refixing charges | Job | 1
191 | Detroit | Labor Charges | Job | 1
192 | Detroit | oil Pump | No. | 1
193 | Detroit | Lifty Pump | No. | 1
194 | Detroit | Head Gas Kit | No. | 1
195 | Detroit | CR Bush | No. | 1
196 | Detroit | Thirst Washer | No. | 1
Sub-Total F (PKR): |  |  |  |  | 0
Grand Total (PKR): |  |  |  |  | 0

## Cummins
BILL OF QUANTITIES
PROCUREMENT / SUPPLIMENTRY SERVICES OF GENERATOR PARTS / GOODS
S. No. | Brand (Perkins) | Parts Description | Unit | Qty | 20-40 KVA | 100 KVA | 200 KVA
A | General parts / Jobs
1 | Cummins | Fuel Pump Calibration | Job | 1
2 | Cummins | Nozzels Testing | Job | 1
3 | Cummins | Fuel Pump Plunger or Router chroming with nozzle testing | Job | 1
4 | Cummins | Injectors | No. | 1
5 | Cummins | Nozzles | No. | 1
6 | Cummins | Fuel Pump Router | No. | 1
7 | Cummins | Fuel Pump Planger | No. | 1
8 | Cummins | Fuel Pump Pipes | No. | 1
9 | Cummins | Electrical Fuel Pump | No. | 1
10 | Cummins | Manual Fuel Pump | No. | 1
11 | Cummins | oil Pump | No. | 1
12 | Cummins | Lifty Pump | No. | 1
13 | Cummins | Hand Lifty Pump | No. | 1
14 | Cummins | Fuel Filter Assembly | No. | 1
15 | Cummins | Timing Plat | No. | 1
16 | Cummins | Timing Plate Jain | No. | 1
17 | Cummins | Water Pump | No. | 1
18 | Cummins | Water Pump Kit | No. | 1
19 | Cummins | Water Pump Jacket | No. | 1
20 | Cummins | Water Body /Pump Repairing | No. | 1
21 | Cummins | Water Temp Sensor | No. | 1
22 | Cummins | Oil Sensor | No. | 1
23 | Cummins | Self Starter Motor | No. | 1
24 | Cummins | Fuel Solenoid | No. | 1
25 | Cummins | Self Starter Repairing | Job | 1
26 | Cummins | Charging Dynamo | Job | 1
27 | Cummins | Charging Dynamo Repairing | Job | 1
28 | Cummins | Tappet Cover | No. | 1
29 | Cummins | Fry Wheel Gear | No. | 1
30 | Cummins | Turbo Charger Repair Kit | No. | 1
31 | Cummins | Timing Oil Seal | No. | 1
32 | Cummins | Alternator Rooter Exciter | No. | 1
33 | Cummins | Alternator Bearing | No. | 1
34 | Cummins | Alternator Main Stator | No. | 1
35 | Cummins | Alternator Rooter Rewinding | Job | 1
36 | Cummins | Alternator Stator Excitor Rewinding | Job | 1
37 | Cummins | Diode Assembly Kit | No. | 1
38 | Cummins | Coupling Plate | No. | 1
39 | Cummins | Coupling Rubber | No. | 1
40 | Cummins | Module Deep Sea 307 | No. | 1
41 | Cummins | Module Datacom 5110 | No. | 1
42 | Cummins | Battery Exide, Osaka. | No. | 1
43 | Cummins | Battery Lead | No. | 1
44 | Cummins | Battery Water | No. | 1
45 | Cummins | Battery Charging | No. | 1
46 | Cummins | Battery Terminal | No. | 1
47 | Cummins | Battery Charger External | No. | 1
48 | Cummins | silencer | No. | 1
49 | Cummins | silencer Flixable Pipe | No. | 1
50 | Cummins | Silencer Pipe Heat Patti | No. | 1
51 | Cummins | Heat Patti Clamp | No. | 1
52 | Cummins | Radiator New | No. | 1
53 | Cummins | Radiartor Core | No. | 1
54 | Cummins | Radiator Descaling | No. | 1
55 | Cummins | Hose Pipe | No. | 1
56 | Cummins | Hose Pipe Clamps | No. | 1
57 | Cummins | Radiator Fan | No. | 1
58 | Cummins | Radiator Safity Guard | No. | 1
59 | Cummins | Fan Belt Pulley | No. | 1
60 | Cummins | Fan Belt | No. | 1
61 | Cummins | Coolant | No. | 1
62 | Cummins | Radiator Cap | No. | 1
63 | Cummins | Radiator Foundation Pad | No. | 1
64 | Cummins | Canopy Foundation Pad | No. | 1
65 | Cummins | Fuel Tank Cap | No. | 1
66 | Cummins | Fuel Monitoring Gage | No. | 1
67 | Cummins | Oil Deep Stick | No. | 1
68 | Cummins | Canopy Minor Repairing | Job | 1
69 | Cummins | Canopy Major Repairing | Job | 1
70 | Cummins | Canopy Door Lock | No. | 1
71 | Cummins | Foundation Pad | No. | 1
72 | Cummins | Generator & ATS installation/Comissioning with cabling | No. | 1
73 | Cummins | Rental Generators 8.5 KVA with transportation | No. | 1
74 | Cummins | Rental Generators 20 KVA with transportation | No. | 1
75 | Cummins | Main Head Rf | No. | 1
76 | Cummins | Main Block RF | No. | 1
77 | Cummins | Crank Shaft RF | No. | 1
78 | Cummins | Connecting Rod | No. | 1
79 | Cummins | Main Head New | No. | 1
80 | Cummins | Main Block New | No. | 1
81 | Cummins | Crank Shaft New | No. | 1
82 | Cummins | Connecting Rod New | No. | 1
83 | Cummins | Oil Pump | No. | 1
84 | Cummins | Fuel Pump | No. | 1
85 | Cummins | Lube Oil Delo Golde | No. | 1
86 | Cummins | Oil filter | No. | 1
87 | Cummins | Fuel filter | No. | 1
88 | Cummins | Air Filter | No. | 1
89 | Cummins | Non return valve | No. | 1
90 | Cummins | UVT Relay Zahra/Schneider | No. | 1
91 | Cummins | Relay 12V Finder | No. | 1
92 | Cummins | Relay220V Finder | No. | 1
93 | Cummins | Timer 12V | No. | 1
94 | Cummins | Timer 220V Finder | No. | 1
95 | Cummins | base | No. | 1
96 | Cummins | External Battery Charger 12 v-5A/10A | No. | 1
97 | Cummins | Connector | No. | 1
98 | Cummins | Control Wire 2.5mm in meters | meter | 1
99 | Cummins | thimbles | dozen | 1
100 | Cummins | tie 6" | pack | 1
101 | Cummins | channel patti | meter | 1
102 | Cummins | duct | Job | 1
103 | Cummins | hour meter | No. | 1
104 | Cummins | AVR 220 / 25amp | No. | 1
105 | Cummins | Panel Box 2'x2.5' | No. | 1
106 | Cummins | Panel Box 2'x3' | No. | 1
Sub-Total A (PKR): |  |  |  |  | 0 | 0 | 0
B | Circuit Breakers Tele Machenic/ABB
107 | CB | Circuit Breaker 01 pole | No. | 1
108 | CB | Circuit Breaker 10A Single pole | No. | 1
109 | CB | Circuit Breaker 20A Single pole | No. | 1
110 | CB | Circuit Breaker 10A Four pole | No. | 1
111 | CB | Circuit Breaker 20A Four pole | No. | 1
112 | CB | Circuit Breaker 30A Four pole | No. | 1
113 | CB | Circuit Breaker 40A Four pole | No. | 1
114 | CB | Circuit Breaker 50A Four pole | No. | 1
115 | CB | Circuit Breaker 100A Four pole | No. | 1
116 | CB | Circuit Breaker 150A Four pole | No. | 1
117 | CB | Circuit Breaker 200A Four pole | No. | 1
118 | CB | Circuit Breaker 250A Four pole | No. | 1
119 | CB | Circuit Breaker 300A Four pole | No. | 1
120 | CB | Circuit Breaker 400A Four pole | No. | 1
121 | CB | Circuit Breaker 10A 03 pole | No. | 1
122 | CB | Circuit Breaker 20A 03 pole | No. | 1
123 | CB | Circuit Breaker 30A 03 pole | No. | 1
124 | CB | Circuit Breaker 40A 03 pole | No. | 1
125 | CB | Circuit Breaker 50A 03 pole | No. | 1
126 | CB | Circuit Breaker 100A 03 pole | No. | 1
127 | CB | Circuit Breaker 150A 03 pole | No. | 1
128 | CB | Circuit Breaker 200A 03 pole | No. | 1
129 | CB | Circuit Breaker 250A 03 pole | No. | 1
130 | CB | Circuit Breaker 300A 03 pole | No. | 1
131 | CB | Circuit Breaker 400A 03 pole | No. | 1
Sub-Total B (PKR): |  |  |  |  | 0 | 0 | 0
C | Magnetic Contactor LS/Schneider/Fuji/Telemachnic
132 | As mentioned | Magnetic Contactor 25 A 02 pole | No. | 1
133 | As mentioned | Magnetic Contactor 60 A 02 pole | No. | 1
134 | As mentioned | Magnetic Contactor 80 A 02 pole | No. | 1
135 | As mentioned | Magnetic Contactor 100 A 02 pole | No. | 1
136 | As mentioned | Magnetic Contactor 150 A 02 pole | No. | 1
137 | As mentioned | Magnetic Contactor 180 A 02 pole | No. | 1
138 | As mentioned | Magnetic Contactor 200 A 02 pole | No. | 1
139 | As mentioned | Magnetic Contactor 250 A 02 pole | No. | 1
140 | As mentioned | Magnetic Contactor 25 A 03 pole | No. | 1
141 | As mentioned | Magnetic Contactor 60 A 03 pole | No. | 1
142 | As mentioned | Magnetic Contactor 80 A 03 pole | No. | 1
143 | As mentioned | Magnetic Contactor 100 A 03 pole | No. | 1
144 | As mentioned | Magnetic Contactor 150 A 03 pole | No. | 1
145 | As mentioned | Magnetic Contactor 180 A 03 pole | No. | 1
146 | As mentioned | Magnetic Contactor 200 A 03 pole | No. | 1
147 | As mentioned | Magnetic Contactor 250 A 03 pole | No. | 1
148 | As mentioned | Magnetic Contactor 300 A 03 pole | No. | 1
149 | As mentioned | Magnetic Contactor 400 A 03 pole | No. | 1
150 | As mentioned | Magnetic Contactor 500 A 03 pole | No. | 1
151 | As mentioned | Magnetic Contactor 25 A 04 pole | No. | 1
152 | As mentioned | Magnetic Contactor 60 A 04 pole | No. | 1
153 | As mentioned | Magnetic Contactor 80 A 04 pole | No. | 1
154 | As mentioned | Magnetic Contactor 100 A 04 pole | No. | 1
155 | As mentioned | Magnetic Contactor 150 A 04 pole | No. | 1
156 | As mentioned | Magnetic Contactor 180 A 04 pole | No. | 1
157 | As mentioned | Magnetic Contactor 200 A 04 pole | No. | 1
158 | As mentioned | Magnetic Contactor 250 A 04 pole | No. | 1
159 | As mentioned | Magnetic Contactor 300 A 04 pole | No. | 1
160 | As mentioned | Magnetic Contactor 400 A 04 pole | No. | 1
161 | As mentioned | Magnetic Contactor 500 A 04 pole | No. | 1
Sub-Total C (PKR): |  |  |  |  | 0 | 0 | 0
D | Power Cables
162 | Pakistan Cable | Power Cable 16mm 04 core Pakistan Cable | meter | 1
163 | Pakistan Cable | Power Cable 25mm 04 core Pakistan Cable | meter | 1
164 | Pakistan Cable | Power Cable 35mm 04 core Pakistan Cable | meter | 1
165 | Pakistan Cable | Power Cable 50mm 04 core Pakistan Cable | meter | 1
166 | Pakistan Cable | Power Cable 60mm 04 core Pakistan Cable | meter | 1
167 | Pakistan Cable | Power Cable 75mm 04 core Pakistan Cable | meter | 1
168 | Pakistan Cable | Power Cable 100mm 04 core Pakistan Cable | meter | 1
D1 | Control Cable
169 | Control cable 2.5mm 04 core |  | meter | 1
170 | Control cable 2.5mm 08 core |  | meter | 1
171 | Control cable 2.5mm 12 core |  | meter | 1
Sub-Total D (PKR): |  |  |  |  | 0 | 0 | 0
E | Rental Genertors
172 | Elemax | 8.5 KVA Generator (patrol) | per day | per day
173 | Cummins | 20 - 30 KVA DG Set | per day | per day
Sub-Total E (PKR): |  |  |  |  | 0 | 0 | 0
F | Overhauling Detail:
174 | Cummins | Valve Inlet | No. | 1
175 | Cummins | Valve Exhaust | No. | 1
176 | Cummins | Insert Inlet | No. | 1
177 | Cummins | Insert Exhaust | No. | 1
178 | Cummins | Guide Inlet | No. | 1
179 | Cummins | Guide Exhaust | No. | 1
180 | Cummins | Top Kit Complete | No. | 1
181 | Cummins | Bottom Kit Complete 01 No. | No. | 1
182 | Cummins | Piston | No. | 1
183 | Cummins | Ring | No. | 1
184 | Cummins | Main Bearing | No. | 1
185 | Cummins | Cylinder Liner | No. | 1
186 | Cummins | Begent Bearing | No. | 1
187 | Cummins | Rear Oil Seal | No. | 1
188 | Cummins | Front Oil Seal | No. | 1
189 | Cummins | Machining Job | Job | 1
190 | Cummins | Loading / unloading and refixing charges | Job | 1
191 | Cummins | Labor Charges | Job | 1
192 | Cummins | oil Pump | No. | 1
193 | Cummins | Lifty Pump | No. | 1
194 | Cummins | Head Gas Kit | No. | 1
195 | Cummins | CR Bush | No. | 1
196 | Cummins | Thirst Washer | No. | 1
Sub-Total F (PKR): |  |  |  |  | 0 | 0 | 0
Grand Total (PKR): |  |  |  |  | 0 | 0 | 0

## Consumables
Consumable Rates For Diesel Generator Sets
A- 20 KVA
S.No. | Parts Detail | Qty | Unit Price | Taxes (applicable) | Total Amount
1 | Lube Oil - Delo Gold | 01 Liter
2 | Coolant - Korea | 01 Liter
3 | Oil Filter UK/Fleet Guard | 01 No.
4 | Fuel Filter UK/Fleet Guard | 01 No.
5 | Air Filter UK/Fleet Guard | 01 No.
|  |  |  | Sub Total Cost A: | 0
B- 30 - 40 KVA
S.No. | Parts Detail | Qty | Unit Price | Taxes (applicable) | Total Amount
1 | Lube Oil - Delo Gold | 01 Liter
2 | Coolant - Korea | 01 Liter
3 | Oil Filter UK/Fleet Guard | 01 No.
4 | Fuel Filter UK/Fleet Guard | 01 No.
5 | Air Filter UK/Fleet Guard | 01 No.
|  |  |  | Sub Total Cost B: | 0
C- 100 KVA
S.No. | Parts Detail | Qty | Unit Price | Taxes (applicable) | Total Amount
1 | Lube Oil - Delo Gold | 01 Liter
2 | Coolant - Korea | 01 Liter
3 | Oil Filter UK/Fleet Guard | 01 No.
4 | Fuel Filter UK/Fleet Guard | 01 No.
5 | Air Filter UK/Fleet Guard | 01 No.
|  |  |  | Sub Total Cost C: | 0
D- 200 KVA
S.No. | Parts Detail | Qty | Unit Price | Taxes (applicable) | Total Amount
1 | Lube Oil - Delo Gold | 01 Liter
2 | Coolant - Korea | 01 Liter
3 | Oil Filter UK/Fleet Guard | 01 No.
4 | Fuel Filter UK/Fleet Guard | 01 No.
5 | Air Filter UK/Fleet Guard | 01 No.
6 | Water Separator/Filter | 01 No.
|  |  |  | Sub Total Cost D: | 0