## Minor Works BOQ
CONSTRUCTION & RENOVATION OF NEW/EXISTING BRANCHES & OFFICES
General Services Division-Construction & Renovation Department
| The Bank of Khyber |  |  |  | CATEGORY-1,2,3 & 4
Project Short Title: |  | Unit of Measurements: |  | Items Rate Base System:
Construction & Renovation of Existing/New Branch & Offices | LOT-3 MINOR WORKS | FPS System of Units
General Terms & Conditions:
1. Under LOT-3, the work shall limited to Rs.500,000/each project.
2. All the items rates shall be inclusive of all applicable taxes (withholding tax, sales tax or any other) as per KPRA rules.
3. The non schedule items cost will be made/paid to contractor on the star rate basis (Material market price + Supply + fixing Charges + taxes + profit).
S.N | Items Descriptions | A/Unit | Quantities | Rate (Rs) | Amount (Rs)
A | Civil & Finishing Works:
1 | Porcelain Tile, Marble, Granite and Terazoo flooring Works
a) | Floor Porcelaine Tile (2ft x 2ft)-Hall area
| Providing, laying and fixing 2ft x 2ft Porcelaine flooring tile Make RAK, Malasian, Italian or equivalent quality imported prociline tile in required colour / texture on floors over existing floors, filling the joints with Stile Laticrete grout, including cost of all materials, tile bond, base preparation with mortar cutting and labour, complete in all respectas per drawings and as directed by the Engineer. | Sft | 1
b) | Floor Porcelaine Tile -Manager room/ Locker room
| Providing, laying and fixing 2ft x 2ft or 1ft x 2ft size Porcelaine flooring tile Make RAK, Malasian, Italian or equivalent quality imported prociline tile in wood colour / texture on floors over existing floors, filling the joints with Stile Laticrete grout, including cost of all materials, tile bond, base preparation with mortar cutting and labour, complete in all respectas per drawings and as directed by the Engineer. (Base price: 270 per Sft) | Sft | 1
2 | Tuff Concrete tiles (Branch outside)
| Providing and laying 2.5" thick precast interlocking concrete pavers Envicrete/(Izhar/Tuff) or equivelant in desired pattern over 2" thick local sand including 4" thick PCC 1:3:6 over well compacted earth including edge pavers wherever required and joints filled with sand including preparation of surface at required level and cutting/filling where required in parking area, complete in all respects as per drawings and as directed by the Engineer. Increase quantity will be paid separately | Sft | 1
3 | False Ceiling
a) | Gypsum board ceiling (2' x 2' Tiles ceiling)
| Providing & laying gypsum board ceiling, 24" x24" Elephant brand (with aluminium back) in straight, curved, tiles or multiple profiles as per drawings, fixed with powder coated aluminium, "T" & "L" section with galvanized metal suspension system, having provisions for light and AC grills Complete in all respect as per drawing and instruction of Architect. | Sft | 1
b) | Gypsum Ceiling (4' x 8')
| Providing laying 12mm thick gypsum 4'x8' board false ELEPHANT brand ceiling with bulk head (mainly at perimeter and where required) using sheet size 4'x8'x1/2" thick with aluminum channel including making provision for lighting coves, suspension system, tapered ends, fluorescent, incandescent, spot light, fixtures etc. Complete in all respect including Paint & strip tape for joints with light pelmet as per drawing. | Sft | 1
4 | Paint Work
Providing and applying 3 coats of Plastic emulsion paint (apply with roller only) over one primer coat after making good any unevennes by filling with ICI or Berger factory made filling to surfaces of walls, ceiling and soffits of beams etc, at any floor/ any height, complete in all respects and as directed by the Engineer Incharge.
a) | Internal Wall, Column, Beam, Slab ICI SWISS WHITE 6109 | Sft | 1 |  |  | #REF!
5 | Roller Blinds
| Providing and fixing in position of Roller blinds consisting of best quality fabric of approved color to windows and fixed glazing including all fittings and assessories, with powder coated Aluminum top rail, complete in all respects directed by the Engineer. | Sqft | 1
6 | Planter
| Providing and construction of planters as designed by architect, consisting of 4.5" thick brick wall, plaster, approved split tile, apporved prepolished granite top of size 6ft x 2ft x 9inch (approximatley) complete in all respect and as specified. | Job | 1
7 | Wooden Ceiling / Palmet Beam Works in Manager room
| Providing and fixing wooden false ceiling consisting of 1/2" thick solid ash wood planks, 1/2" thick imported MDF and 2"x2" partal wood frame for fixing, including all required hardwares/arrangments, according to the detailed drawings. Approved polish finishing complete in all respect. | Sft | 1
8 | Wooden Skirting
| Providing and fixing 1/2" thick, 6" high Solid ash wood skirting / border fixed with steel screws including matt lacquer polishing complete in all respects as per drawings and as directed by the Engineer where required. | Rft | 1
9 | Wooden Cabinets
a) | Kitchen Hanging wall base cabinets
| Providing and fixing kitchen cabinets hanging type 15" deep 24" high consisting of 3/4"thick best quality lamination board boxing / shutters of approved design & color with imported ash wood lipping brass hinges, locks, handles including matt lacquer polishing to wood, complete in all respects as per drawings and as directed by the Engineer. | Sft | 1
b) | Low Hight Credenza Cabinets for officers
| Providing, making and fixing openable/sliding type filing cabinets 16" deep consisting of 3/4" thick lamination board boxing / shutter, apply 2 mm Ash Ply on front shutter and top of cabinet with imported Ash wood lipping allaround including imported best quality brass hinges, imported Ash wood front frames etc, locks, 4" high approved S.S handles,latch,lock, hinges including matt lacquer polishing complete in all respects as per drawings and as directed by the Engineer. Size (5ft length x 2.5ft high x 16" deep). Total quantity: 5 Nos min | Sft | 1
c) | Full Height File Cabinets for Store
| Providing, making and fixing openable/sliding type filing cabinets 16" deep consisting of 3/4" thick lamination board boxing / shutter, apply 2 mm Ash Ply on front shutter and top of cabinet with imported Ash wood lipping allaround including brass hinges, imported Ash wood front frames etc, locks, 4" high approved S.S handles,latch,lock, hinges including matt lacquer polishing complete in all respects as per drawings and as directed by the Engineer. Size (4ft wide x 8ft high x 16" deep) | Sft | 1
10 | Wooden Partition
a) | Full Height Wooden Partition
| Providing, making and fixing in position 4" thick Full height wooden partitions consisting of 1½"x2.5" Partal wood frame @ 24" c/c covered with 3/4" thick MDF both sides and emulsion paint of approved color, including 2" thick 2.5" width solid Ash wood at edges and to be fixed with ceiling complete in all respects and as directed by the Engineer. | Sft | 1
b) | Low Height Wooden Partition
| Providing, making and fixing in position 4" thick and 4ft high Low height wooden partitions consisting of 1½"x2.5" Partal wood frame @ 24" c/c covered with 3/4" thick MDF both sides veneered with 1/8" thick Ash ply matt lacquer polished and 1/2" thick, 4" wide at top/ sides solid Ash wood lipping allaround, matt lacquer plishing, complete in all respects and as directed by the Engineer. | Sft | 1
11 | Wooden Vertical Drop beam
| Providing, making and fixing 4" thick wooden vertical drop beam in any depth over glazed / glasss partitions consisting of 3/4" thick MDF on both faces over 2"x1½" partal wood frame @ 24"c/c both way properly hanged/ fixed with wall/ RCC slab/ beam including making grooves, including paint, cost of all fixing arrangements such as ties, struts, battens etc, complete in all respects as per drawings and as directed by the Engineer. | Rft | 1
12 | Wooden Wall Penalling
| Providing, making and fixing in position Wall Penalling over Brick Masonary/RCC Wall consisting of 3/4" thick MDF veneered with 1/8" thick Ash ply over 2"x2" thick local Partal wood frame @1.5' c/c, including matt lacquer polishing to wood/ ply, complete in all respects as per drawings and as directed by the Engineer | Sft | 1
13 | Flush MDF Door
a) | Providing and fixing 1.5" thick first class wooden flush door shutter with solid core of Partal wood, finished with MDF on both sides of approved design and 1½"x1.5" imported Ash wood lipping all around, 3"x1/2" imported Ash wood architraves all sides, full wall width solid Ash wood 2" thick chockhat, matt lacquer polishing to wood, S.S push plate where required, best quality imported door lock complete in all respects as per drawings and as directed by the Engineer. | Sft
| Bath room Door (2.5' x 7') | Sft | 1
| Kitchen Door (3.0' x 7') | Sft | 1
| IT Room (3.0' x 7') | Sft | 1
| ATM (3.0' x 7') with 9" x 4" glass at 5.5 ft level | Sft | 1
| Cash counter (3.0' x 7) | Sft | 1
14 | Work Station IT room
| Providing and fixing in position Computer/ Back office/ Accounts counter size 2'-3" W x2.5' height consisting of 3/4" thick lasani sheet with 1½"x3/4" imported Ash wood edging supported by 3/4"x3/4" lasani sheet or wooden frame complete in all respect. | Rft | 1
15 | Powder Coated Iron Shelf for Store
| Providing and Fixing of iron shelf in store up to cealing height consisting 2" x 2" x 2"' angel iron with adjustabel divder / shelf of same specification with 2"' chacker plate including welding, fitting, fixing, paint or pre fab adjustable shelfcomplete in all respect. Shelf size 4 ft x 8 ftx 2.5 ft | Sft | 1
16 | MS Grill on all windows & Main door
| Providing and fixing of Window Grills and Grill Door with hold fasts consisting of 1"x1"x16 SWG pipe framing and 1/2"Sq.M.S solid bars as per drawing including 3 coats of ICI Dulux enamel painting over one coat of red oxide, complete in all respects and as directed by the Engineer. | Sft | 1
a | Front fixed glass | Sft | 1
b | ATM back grill door | Sft | 1
C) | Main front gill door | Sft | 1
16 | MS Door for Store & Security Exit
| Providing, fabricating and fixing of MS Door consisting of 2-1/2"x10"x 16SWG M.S main frame with 1"x1"x16 SWG M.S pipe door leaf frame 2' c/c both way covered with 16 SWG sheet on both side including hinges, lock, earl, 3 coats of ICI Dulux enamel painting over 1 coat of red oxide, complete in all respects as per drawings and as directed by the Engineer. | Sft | 1
18 | S.S Railing
| Providing and fixing 2'-9" high Stainless Steel 18 guage Stair Railing consisting of 2" dia, 2'-9" high pipe, 1/2" dia S.S pipes in center, S.S vertical supports @ 3'-0" c/c approximately including base plates, S.S nut bolts and all other accessories, complete in all respects as per drawings and as directed by the Engineer. | Rft | 1
19 | M.S Rolling Shutter
| Providing, fabricating and fixing of M.S (Rolling) Shutter 20 guage sheet consisting of 1/4" dia M.S bars, springs, locking arrangements, hold fast, punching, drilling, making hole where required, fixing assembling by welding or without use of bolts, nuts, rivets, washers, sliding channels and execution/fixing in position including 3 coats of synathetic enamel paint over one coat of red oxide, complete in all respect as directed by Engineer. | Sft | 1
20 | 12mm Thick Clear Glass
| Providing and installation 12mm thick imported Polished clear glass (UAE / KSA) with 100 mm x 50 mm top & bottom Ash Wood rails, as per approved design. Contractor is required to provide joints between the panels with minimum 5mm thick clear silicon from Dow corning or other approved by the Engineer. Complete in all respects. | Sft. | 1
21 | 12mm Thick Clear Glass Door
| Providing and installing of 12mm thick imported clear glass door including 100mm x 50 mm high top & bottom Ash Wood Rail, heavey duty imported (G.C.C) door opening machine, 36" long S.S. door handle set, locking arrangement,complete in all respects as per drawings and as directed by the Engineer Incharge.( Local made machine is not allowed) | Sft | 1
22 | Antishutter film
| Providing and installation Anti Shutter Flim of 175 micron , 3MM Brand where required. | Sft | 1
23 | Frost paper
| Providing and installtion of frost paper on glass and glass door as per apporved design pattern complete in all respect. | Sft | 1
24 | BOK logo paper
| Providing and installtion of BOK logo paper on main front glass complete in all respect. | Job | 1
25 | European Type Water Closet
| Providing and fixing European Type "A" quality water closet Pakistan made Porta (China make) white or coloured complete with plastic seat cover and 3 gallons down flush cistern including 1/2" dia. C.P. stop cock (heavy) and 1/2" dia. C.P. copper inlet connection (heavy) etc., complete in all respects as per drawings and specifications and as directed by the Engineer. | Each | 1
26 | Indian Type Water Closet
| Providing and fitting Glazed earthen ware water closet, squatter type (Porta), combined with foot rest, Best Quality including Plastic made Flushing tank, Porta, master tee stop cock for cistern water inlet and C.P connector with nuts and fitting, approved other ancillary material complete in all respect. | Nos | 1
27 | Hand Wash basin (inside bath room)
| Providing, installtion and fixing wash hand basin / pedastal with basin mixer including C.P. Tee stop, wase coupling, bottle trap and fixing, connection pipes, connection to water line, C.P brass union, nuts, washers etc complete in all respect as per drawing | Nos | 1
28 | Fitting & Fixtures
Providing and fixing following plumbing fittings fixtures of Master make of prime quality, complete in all respects:
a) | 1/2" dia. C.P. brass double bib cock. | Each | 1
b) | Soap Dispensor | Each | 1
c) | Toilet paper holder | Each | 1
d) | Towel Rail | Each | 1
e) | Muslim Shower | Each | 1
29 | Looking mirror
| Providing and fixing looking Mirro 5mm thick complete with frame and fixing clamps including all accessories required for installation. | Sqft | 1
30 | Electric Geyser:
| Providing and fixing 30 gallons electric Geyser 'Delite, Super Asia' make, with fitting & wiring arrangments or approved equivalent approved including all accessoires. | Each | 1
31 | Electrical Fixtures:
Supply, installation and connection of the following lighting fixtures as specified complete with lamps, starters, holders, capacitors, ballasts, etc including all mounting accessories of make Philips/Sunlight. Complete in all respect.
a | SMD ceiling light 12 Watt Make AURA, Fiam or Philips Two year replacing warntee. | Nos | 1
b | SMD ceiling light 6 watt Make AURA, Fiam or Philips Two year replacing warntee. | Nos | 1
c | Down lighter. Aluminium matt anodized philips down light with energy saver 25 watts one year replace warntee. | Nos | 1
d | Vanity Light. IFL Model 985 or 935 1x18W mirror light as per sample approved. | Nos | 1
f | Exhaust Fan: Provide and install exhaust fan complete with all accessories three year warntee. | Nos | 1
g | Ceiling Recessed Fan: Provide and install ceiling recessed fan Make Master three year warntee. For each officer, cash counter, BM room, visitior area, guard room. | Nos | 1
32 | Main Cables
Supply, installation and connection of the following main, sub main 600 V/1000V grade single/4/3.5 core PVC insulated copper cables clipped to surface with cleats raceway as per drawings and specifications. (make PAK / FAST Cables).
a | 5xICx16mm2 PVC wires in (For LT panel to Light DB & Power DB) 50mm dia PVC conduit | Rft | 1
b | 7xICx10mm2 PVC wires (For UPS SMPB to UPS DB) in 50mm dia PVC conduit | Rft | 1
c | 4 core 25mm2 PVC Cable | Rft | 1
33 | Earthing:
| Earthing: Excavation of earth pit (3.5ft x 3.5ft x 10ft), fixing of copper strip (25mm x 3mm) pure electrolytic 99.9% with copper plate size: 600mm x 600mm x 3mm(pure electrolyte 99.9% by bolt and nuts with spring washer (including contineous brazing for 600mm) GI size: 40mm heavy duty of 30ft length. GI pipe should by vertically fitted into the earth pit and filling at by alternate layer of carcoal and salt (120 Kg each) and pouring fresh quality of soil from outside places as required and approved by Electrical Inspector & complete in all respect to achieve earth resistance of one ohms & contruction of inspection chamber with medium duty C>I cover 12"x12" complete in all respects.(Including Earth Cable of 25 mm from earthing to connecting point for DBs). The rate shall be inclusive of earth connection with Main DBs and ATM complete in all respect. (Supply and installation of 3x16sq mm single core PVC cable in 38mm dia PVC pipe (Class E) from earth to pit to connecting point for DBs.) | Nos | 1
34 | Telephone & Data Points
Supply and install 1" PVC conduit (Galco/Beta/Popular) and place separately each of the CAT-6 UTP - 4 pairs cable and telephone cable including floor cutting, surface/concealed fixing, pull boxes, back boxes etc. Complete in all respect as per the drawing
a | a. Data Point with cat-6 4 pairs cable | Points | 1
b | b. Telephone points with 2 pair 0.6 mm cable | Points | 1
35 | Air Conditioning Units (Inverter)
Supply and Installation of Split Air Conditioners (SAC) INVERTER with installation & testing complete in all respects; including control wiring from outdoor unit to indoor with 2 x 1.5 mm.sq. + 1 x 1.5 mm.sq wire drawn in PVC 'D' class conduit clipped to wall or ceiling (wiring make Pakistan Cable, Copper GAT, New age, Fast cables or equivalent quality brand). The return and supply copper tubing to be sized as per manufacturer's recommendation and to be drawn in separate Aeroflex insulators.
a. | 1.0 Ton Dawlance, Mitsubishi or Hier or equivalent brand (BM and Cash counter) | Nos | 1
b. | 1.5 Ton Dawlance, Mitsubishi or Hier or equivalent brand (Hall area) | Nos | 1
36 | Air Conditioning Units Simple
Supply and Installation of Split Air Conditioners (SAC) with installation & testing complete in all respects; including control wiring from outdoor unit to indoor with 2 x 1.5 mm.sq. + 1 x 1.5 mm.sq wire drawn in PVC 'D' class conduit clipped to wall or ceiling (wiring make Pakistan Cable, Copper GAT, New age, Fast cables or equivalent quality brand). The return and supply copper tubing to be sized as per manufacturer's recommendation and to be drawn in separate Aeroflex insulators.
a. | 1.0 Ton Dawlance, Mitsubishi or Hier or equivalent brand (IT Room and ATM) | Nos | 1
a. | 1.5 Ton Dawlance, Mitsubishi or Hier or equivalent brand (IT Room and ATM) | Nos | 1
37 | Copper Pipes
| Providing and fixing 2 Nos. USA Copper Pipe with insulation for split units make (Muller) (charged as per final measurement on site). The return and supply copper tubing to be sized as per manufacturer's recommendation and to be drawn in separate Aeroflex insulators with gray tape. (deduct the copper pipe quantiity alrady available with AC by company) | RFT | 1
38 | Iron Brackets:
| Providing and installing M.S angle iron brackets, treated with rust proof paint and enamel coating for external A/C's units fixed to the wall slab with Hilti bolts. | Each | 1
39 | AC routine Service (1.0 Ton & 1.5 Ton AC) | No | 1
40 | AC gas filling 1.0 Ton AC | No | 1
41 | AC Gas Filling 1.5 Ton AC | No | 1
42 | Supply and fixing corrugated GI sheet with GI bolts,nuts limpet etc complete in all respect | Sft | 1
| Grand total cost | Rs. |  |  | 0
NOTE: The contractor representative shall countersign each page of the BOQ along with official seal.